FOAMULAR Waterproofing Insulation

Horizontal Guide Specification

Section 07220 Roof Insulation Materials

Horizontal waterproofing applications incorporating FOAMULAR waterproofing insulation products include the use of single ply, built-up asphalt, hot fluid applied, or modified bituminous membranes.  These horizontal applications may be ballasted/protected with precast pavers, stones or gravel, cast in place concrete, or earth fill.  Precast pavers or cast in place concrete may be placed directly over FOAMULAR or they can be elevated to promote venting/drainage with pedestal support systems or a drainage course.

The intent of this guide specification is to generally define and establish materials, describe installation techniques, and define the division of responsibilities.  Although the details contained herein are believed to be accurate, actual construction specifications are the responsibility of the project designer.  Owens Corning assumes no responsibility for project details.

See Owens Corning FOAMULAR New Construction Guide specifications for information relative to specifying FOAMULAR products below waterproofing membranes.

[Bracketed boldface] information must be edited to suit the use of a particular FOAMULAR product for a horizontal waterproofing application.  Boldfaced underlined denotes explanatory information for review as needed.

PART 1 – GENERAL

1.01 Description of Work

- This guide specification describes typical application guidelines for Foamular insulation and generic membranes utilized in horizontal waterproofing applications.  Owens Corning shall be contacted for specific information about particular products and systems.

- Furnish and install FOAMULAR [404, 404RB, 604, 604RB, INSUL-DRAIN, or FANFOLD] in horizontal waterproofing applications in strict accordance with Drawings and Specifications and per Owens Corning FOAMULAR published recommendations.

1.02 Quality Assurance

- The insulation and waterproofing membrane system must be applied by a contractor authorized by the waterproofing membrane manufacturer.

- Preconstruction Review:  Before beginning construction, waterproofing, insulation, and ballast/protection system, the installer shall meet with installers of work adjacent to or which penetrates the waterproofing, insulation, and ballast to discuss the system.  The meeting shall include an owner’s representative and the waterproofing system manufacturer’s representative to review procedures for preparation of the substrate and application of the waterproofing/insulation/ballast.

- The insulation selected shall be compatible with the waterproofing membrane and acceptable to the membrane manufacturer.

- Before start of waterproofing system application, review installed substrate surfaces for compliance with preparation requirements.  Document necessary actions for correcting unacceptable surface conditions.

- Upon completion of the installation, an inspection shall be made [by a representative of Owens Corning, waterproofing manufacturer].  The insulation and ballast inspection is required only if a Thermal Overlay Warranty is to be issued for a Protected Roof Membrane Assembly system by Owens Corning.  In any event it is in the owner’s and specifier’s best interest to determine that the waterproofing system has been properly installed.  The purpose of the inspection is to verify that installation is in accordance with design specifications such as adequate ballast gradation, rate of coverage and areas covered.

- Each insulation board must be labeled with manufacturer's name, product brand name, ASTM material specification reference, and identification of the third party inspection agency used for building code qualification.  Underwriters Laboratories and Factory Mutual certification documents and Material Safety Data Sheets are available from Owens Corning on request.

- The waterproofing membrane must be labeled with manufacturer’s name and  product brand name.

- There shall be no deviations from manufacturer’s/supplier’s specifications or the approved shop drawings without the prior written approval of the manufacturer.

1.03 Submittals

Sections A and B that follow only apply to those jobs for which an Owens Corning Thermal Overlay Warranty will be issued.  See 1.02 B.

- [Owens Corning Design Approval Form and shop drawings prepared by the specifier must be submitted and approved prior to beginning installation.]

- [Shop drawings are required for final inspection of the system. Membrane manufacturer's shop drawings are acceptable but must include:

  - Outline of roof and roof dimensions.

  - Location and type of all deck penetrations and equipment.

  - Insulation type and thickness.

  - Parapet height, if applicable.]

- [Ballast Samples for Verification:  Submit ballast samples showing all normal variation to be expected in the delivered product.]

- The contractor shall submit written verification from the membrane manufacturer that he/she is an authorized applicator.

- The contractor shall submit written verification that the specifications for the waterproofing system are in accordance with the recommendations of the manufacturer.

1.04 Product Delivery, Storage and Handling

- Deliver all materials in original unopened packaging.

- Store insulation materials in a dry area and protect from water and direct sunlight.  Damaged insulation materials shall not be used and shall be replaced.  In the event the FOAMULAR insulation becomes wet, the FOAMULAR insulation can be wiped dry and then installed without harm to the FOAMULAR or the waterproofing system.

- FOAMULAR insulation is combustible, but contains a flame retardant additive to inhibit accidental ignition from small fire sources.  During shipping, storage, installation and use, this material should not be exposed to flame or other ignition sources.

- All flammable materials shall be stored in a cool, dry area away from sparks and open flames.  Precautions outlined on containers or provided by the manufacturer/supplier shall be followed.

- For proper fire protection of plastic foam in storage, consult the National Fire Protection Association (NFPA) standards or the authority having jurisdiction.

- Membrane packaging shall be clearly labeled with the manufacturer’s/supplier’s name, product name, and such identifying numbers as are appropriate.

- Membrane materials shall be properly stored off the ground and protected from the weather as recommended by their manufacturer/supplier.

- All materials shall be protected from handling or storage damage.  Materials damaged in handling or storage shall not be used without the authorization of the manufacturer/supplier.

1.05 Job Conditions (Cautions and Warnings)

- Do not allow waste products (petroleum, grease, oil, solvents, vegetable or mineral oil, animal fat, etc.) or direct steam venting to come in contact with the waterproofing/insulation/ballast system.  Any atypical exposures must be presented to Owens Corning or the membrane manufacturer for assessment of impact on products.

- The surface to be waterproofed shall be free of ponded water, ice or snow.  This precaution is to discourage potential future condensation on the underside of the membrane.

- Complete substrate construction, including work which will penetrate waterproofing, before start of waterproofing application.

- Comply with manufacturer's recommendations regarding: condition of the substrate to receive waterproofing, insulation, and ballast system; weather conditions before and during installation; and protection of the installed waterproofing/insulation/ballast system.

- Do not expose FOAMULAR insulation to surfaces such as vent stacks, pipes or other rooftop appurtenances whose constant temperature is in excess of 165°F.  If temperature cycling conditions are anticipated near the maximum recommended use temperature consult your Owens Corning FOAMULAR representative for recommendations regarding system components.

- When insulation is to be exposed to the sun for prolonged periods due to job site delays, protect the insulation with a light colored opaque covering.  Provisions should be made to prevent wind loss of insulation materials at the job site when partially open units of FOAMULAR are on hand.

- Install no more FOAMULAR insulation than can be covered with [paving, stones, pavers, protection] the same day.

- [Any deteriorated decking shall be repaired or replaced.  Existing roof drains must be verified to be open and adequate to promote proper roof drainage.]

- Each day’s roofing work shall be completed in accordance with the manufacturer’s specifications and recommendations.

- When staging material on the roof and during application, the contractor shall ensure that overloading of the deck and structure does not occur.

- For projects requiring removal of the existing waterproofing system, only as much existing membrane and insulation as can be replaced and made watertight the same day shall be removed.

1.06 Building Code Compliance

The roof covering assembly and its individual components must comply with all applicable building code requirements.  Consult the local building code for applicable requirements regarding underdeck fire propagation, (UL 1256/FM 4450), rooftop exterior surface spread of flame or fire penetration, (ASTM E108), structural fire resistance (ASTM E119), wind uplift resistance, or other requirements if applicable.

1.07 Warranty

- [The contractor shall be responsible for scheduling and completing an inspection as required by Owens Corning to obtain a Thermal Overlay Warranty.]  The Thermal Overlay Warranty is optional.  Contact your Owens Corning FOAMULAR representative for full information.  See 1.02 B and 1.03 B.

- A thermal performance warranty must be issued to the project owner upon completion of the work.  [Insulation must be warranted to retain a minimum of 90% of its published R value for 15 years.]  [A single source roof system warranty must be issued to the project owner upon completion of the work.]  Consult your Owens Corning FOAMULAR representative for information on obtaining warranties.  Single source full system warranties are available for certain waterproofing and paver systems.

- A waterproofing warranty may be available from the membrane manufacturer/supplier.  Consult the manufacturer/supplier for duration of terms.

- System warranty shall cover, at a minimum, the following components of insulation, waterproofing, ballast system:

  - Waterproofing membrane

  - Flashings, edge and penetration detailing materials

  - Protection sheet

  - Insulation

  - Pavers and paver pedestals

PART 2 – PRODUCTS

2.01 Extruded Polystyrene Insulation

- Physical Properties:  FOAMULAR [404, 404RB, 604, 604RB, INSUL-DRAIN, FANFOLD], rigid closed-cell foam panels with continuous as-extruded skin on the face and back surfaces, conforming to the minimum physical requirements of ASTM C-578, Type [VI, VII].  See the Physical Properties section of this manual for FOAMULAR product physical properties and association with ASTM C578 type designations.  No further specification of physical properties is required if a standard ASTM C578 type designation is given.  However, if the specifier chooses to elaborate, it should be verified that the specified properties align with the chosen ASTM type category.  Contact your Owens Corning FOAMULAR representative for more information about the current ASTM C578 material standard.

See the Physical Properties section of this manual for recommended in service compressive stress load limits for FOAMULAR waterproofing insulation.

- Panel size:  Provide rigid FOAMULAR insulation panels [thickness x width x length].  See the Physical Properties section of this manual for availability of FOAMULAR above membrane product sizes.

2.02 Membrane

The waterproofing membrane provided shall be as required by the manufacturer/supplier for the intended application.

2.03 [Separator Sheet]

[Flexible glass fiber, nonwoven, non-flammable, corrosion and mildew resistant or other suitable separator (underlayment) sheets shall be used over PVC membranes and other such membranes which contain plasticizing agents.  Separator sheet shall have been evaluated and approved by the membrane manufacturer for adequacy as a separator].  In all cases the membrane manufacturer's recommendation regarding insulation underlayment shall prevail.

2.04 Protective Mat

The following fabrics are acceptable for use in a PRMA:  Other fabrics may be used when their respective manufacturers have published a recommendation for their successful performance as part of a PRMA.

  - Confil, black polyester weighing 3 oz. per sq. yd. min.

  - Rufon P3B, black polypropylene weighing 3 oz. per sq. yd. min.

  - Rufon P5B, black polypropylene weighing 5 oz. per sq. yd. min.

  - DuPont Company of Canada, Fabrene V.I.E., 2.5 oz. per sq. yd. min.

2.05 Ballast

All ballast shall be [rounded water worn gravel, crushed stone, smooth concrete pavers, structural concrete pour].  Building height, parapet height, and project wind zone are major factors when specifying a minimum ballast requirement.  Design of ballasted systems should be accomplished in accordance with ANSI/RMA/SPRI RP-4, Wind Design Guide for Ballasted Single-Ply Roofing Systems.  [Gravel or crushed stone ballast shall conform to ASTM D448, size [#3, #24, #2, #1.]

[Concrete pavers must have a compressive strength equal to [___ psi] or greater, maximum water absorption rate of  [___% by volume], and dimensions, not exceeding [_______].  Paver weight must be manageable for removal and replacement purposes.  Concrete quality must be suitable for weathering conditions to which it will be subjected.  Paver weight must conform to the wind design standard cited above.

Top of pavers shall be dead level, except as otherwise indicated.  Waterproofing membrane shall, in general, be applied to concrete substrates that slope to building drains, either by pitching the structural slab or by the addition of a topping slab, as indicated.  Transition between top surface of waterproofing and pavers shall be accomplished by use of “reverse tapered” insulation, by use of pedestal shims or by combination of both.

2.06 Paver Pedestals

[FOAMULAR 404RB, 604 RB] if needed for installation of concrete paver system

[Plastic pedestals must be UV stable, resistant to freeze-thaw cycling and designed to align and level concrete pavers.]

[Provide FOAMULAR [404RB, 604RB] as a top layer over base layers of FOAMULAR described in Section 2.01 A.]

Paver pedestals may be preferred over other methods of setting pavers such as into a sand or gravel bed.  Pedestals promote drainage and thereby discourage wash out of the setting medium and freeze-thaw degradation of the paver as may occur if the paver is placed directly onto a setting bed.  If paver leveling is not required, FOAMULAR 404RB and 604RB are designed to enhance drainage beneath pavers and eliminate the need for a drainage medium.

[Adjustable paver pedestal system], designed to support anticipated live and dead loads, to control alignment and joint spacing of pavers and to accommodate slope of subsurfaces to create a smooth, uniform, non-slip surface for paver installation.  Provide products supplied by and recommended by joint manufacturer’s group.

2.07 Drainage Course

[Pea gravel, Sand]  A three inch layer of sand or pea gravel placed between the structural cast-in-place concrete topping slab and the insulation will promote drainage away from the bottom of the concrete.

2.08 Related Materials

- Flashing membrane

- Asphalt:  ASTM D 312 “Specification For Asphalt Used In Roofing”

- Adhesives, Sealants, Mastics

- Primers

- Prefabricated Flashings

- Sheet Metal:  [aluminum, galvanized steel, stainless steel, copper]

- Sheet Metal Fasteners:  Nails or screws compatible with sheet metal and substrate.

- Wood Nailers:  # 2 or better lumber, pressure treated for rot resistance.

PART 3 – EXECUTION

3.01 Pre-Job Requirements

- [The primary contractor shall conduct a pre-waterproofing conference before any work begins, so all parties involved in the waterproofing system construction, or who may work on or make penetrations through the waterproofing system, understand their obligations with respect to the waterproofing system.]

- [Minimum slope shall be sufficient to permit positive drainage.  The manufacturer/supplier shall be consulted for specific slope limitations.]

3.02 Roof Deck Criteria

- The deck shall be constructed to drain completely free of water within 48 hours following rainfall.

- [Parapets, gravelstops] must be constructed to extend above the top surface of the [ballast, pavers].

- The dead load carrying capability of the deck must be sufficient to support code mandated live loads and dead loads incident on the roof including the entire roof covering, insulation and ballast system.

3.03 Substrate/Roof Deck Preparation

- Inspect substrates and conditions under which the work of this section will be performed, and verify that installation may properly commence.  Do not proceed with the work until unsatisfactory conditions have been resolved per waterproofing membrane manufacturer’s recommendations.

- Surfaces on which the waterproofing membrane system is to be applied shall be compatible, clean, and smooth.  Surfaces should be free of fins, sharp edges, loose and foreign materials, oil and grease, blisters, or other surface irregularities.

- Where required, the substrate shall be primed and allowed to dry.

- [Any deteriorated decking shall be repaired or replaced]  A thorough inspection should be required in the case of total tear off.

- [Concrete Decking:]

  - Patch as required honeycomb, or aggregate pockets.  Remove fins, ridges, and projecting rough areas.

  - Verify that form release agents and methods and materials used to cure concrete surfaces are compatible with waterproofing products and waterproofing membrane manufacturer's recommendations.

  - Verify that surfaces are smooth, sound, clean, and dry, and that components which will penetrate waterproofing are complete and rigidly installed.

- [Install wood nailers as shown on construction drawings for edge, curb and other roof accessories.]  See Factory Mutual System Loss Prevention Data 1-49 which provides recommendations for edge detail design and securement.

3.04 Waterproofing Membrane

- Complete substrate construction, including work which will penetrate waterproofing, before start of waterproofing application.

- Comply with manufacturer's recommendations regarding condition of the substrate to receive waterproofing/paving system, weather conditions before and during installation, and protection of the installed waterproofing/insulation, ballast system.

- Begin waterproofing membrane installation at the low point of the roofing project area such that the direction of water flow is not against any laps.

- The membrane shall be installed to fit neatly around penetrations and roof projections without the formation of “backwater laps.”

- The waterproofing membrane surface to be insulated shall be inspected [by the Architect, the waterproofing manufacturer's representative, or other designee] for satisfactory completion before applying FOAMULAR.  This inspection is necessary to insure that all splices, field seams and any lap/seam treatment have been completed, that all flashing has been installed, and that all membrane terminations have been completed before being covered and becoming relatively inaccessible.

- The membrane surface over which the PRMA insulation is to be applied shall be free of debris and relatively even.

- Install layer of protection sheet over membrane as soon as practicable after membrane installation to avoid damage to membrane from sunlight and subsequent operations.

- [Flood test complete membrane before placement of protection sheet, insulation, or paving.  Plug or dam drains and fill area with water to a depth of 2 inches or to within 1/2 inch of top of flashings; let stand for 24 hours.  If leaks are discovered, repair and retest until no leaks are observed.]  Before specifying, verify that structural system is capable of withstanding the load of a flood test.

3.05 Vapor Retarder

Install a vapor retarder in accordance with construction drawings.  Place the vapor retarder to insure adequate end and side joint laps.  The roofing/waterproofing membrane, present on the warm side of the insulation in a PRMA system functions as a vapor retarder.  The thermal resistance above the membrane and the thermal resistance below the membrane must be balanced to discourage condensation on the underside of the membrane.  When environmental conditions create a condensation point within the insulation board under the membrane, it may be necessary to install a vapor retarder between the layer of below membrane insulation and the roof deck.  FOAMULAR is compatible with most commonly used asphaltic and sheet film vapor retarding materials.  See the American Society of Heating, Refrigerating and Air Conditioning Engineers (ASHRAE) Handbook of Fundamentals for specific design guidelines.

3.06 Insulation

- Total waterproofing insulation aged thermal resistance shall be  [R___], achieved in the thicknesses and number of layers as shown in the construction documents.  R-value chosen is to be specified based on the intended use of each project and design criteria of each project, and applicable energy conservation codes.  Contact your Owens Corning FOAMULAR representative for information regarding ASHRAE 90.1 energy code minimum requirements for roof/waterproofing insulation if needed.

- Apply only as much FOAMULAR waterproofing insulation as can be covered by the protective mat and ballast on the same day.

- Place insulation directly on the membrane with the [channel side down, rib side up].  Apply roof insulation in parallel rows with end joints staggered.  Install side and end joints closely but do not force together.  Install to within 3/4 inch of all projections and cant strips.

- [In a multiple layer application, apply panels parallel to the preceding layer but with side and end joints staggered in relation to the preceding layer.]   In multiple layer applications FOAMULAR 404 or 604 can be placed as a bottom, membrane level, drainage layer with upper layers completed using 400 or 600.

- [Insulation placed over hot fluid, BUR or other systems to which the PRMA insulation may adhere shall be separated from the membrane by a non-degradable sheet as recommended by the membrane manufacturer that will prevent the insulation from bonding to the membrane.]  [PRMA insulation placed over chemically incompatible membrane systems such as coal tar or PVC shall be separated from the membrane by a separator sheet as recommended by the membrane manufacturer.]

3.07 Protective Mat

- Install protective mat fabric over the FOAMULAR layers, perpendicular to the long dimension of the insulation boards.  The fabric shall be unadhered and unattached.  The protective mat acts as a sieve layer preventing the penetration of fine grade stone ballast into insulation board joints which may work their way down to the membrane level presenting a puncture hazard.  It also limits the flotation of an individual board during periods when the membrane surface is flooded.  Fabric is required between the insulation and ballast if stone ballast is used.  Fabric is recommended for use under pavers.

- Overlap all fabric edges a minimum of 12".  Extend the fabric 2 to 3 inches above the ballast at the roof perimeter and penetrations.  The fabric shall be extended to the base of drain bonnets, but shall not cover the drain or restrict flow to the drain.

- Additional fabric shall be installed around penetrations to prevent fine grade stone ballast from entering the space between the penetration and the insulation.  Wetting the protective mat fabric helps hold it in place over the insulation as the ballast is installed.  It is also helpful to install the fabric so that the wind direction is with the laps rather than against the laps.  Immediately following the application of the fabric it is necessary to install the stone or gravel ballast.  Particularly on windy days, the stone should be installed soon after the fabric in order to help prevent blow-off of unballasted fabric and insulation.

3.08 Ballast

Before specifying a PRMA system, it must be determined that the ballast dead load required will not exceed the dead load limits of the structure.

- Ballasting Requirements:  Weight of ballast installed must be sufficient to provide protection against wind uplift pressure.  The necessary weight per square foot, gradation and application surface areas shall be determined in accordance with ANSI/RMA/SPRI RP-4, Wind Design Guide for Ballasted Single-Ply Roofing Systems.

Protect membrane and place ballast in accordance with building parameters and the ANSI/RMA/SPRI/RP-4 document.

- [Stone ballast gradation and quantity installed (i.e., depth) must be adequate to completely cover the protective mat.]  Insulation thickness does not affect the amount of ballast required.

- [Concrete paver ballast must be installed so that the pavers are elevated above the surface of the foam by integrally cast feet on the paver (not conducive to paver leveling), pedestals at the paver corners, or by a permeable setting bed beneath the pavers.]  See Section 2.06 & 2.07.  When pavers cover only minor portions of the roof such as at windscrub locations or walkways to and around equipment, it is not necessary to elevate the pavers above the surface of the insulation due to the limited areas involved.

3.09 Roof Walkways

Specify if regular maintenance is required to service rooftop units or if a passageway over the surface is otherwise required.  Well defined walkways shall be provided, constructed of materials such as rubber matting, concrete pavers or other materials approved by the roofing membrane manufacturer.

Should access to the waterproofing membrane be required for repairs or warranty service, the ballast, protective mat and insulation layers must be removed.  Rooftop equipment, landscaping, window washing systems, or intricately placed or multicolored ballast configurations may complicate access and service to the membrane.